## Slide 1
HYBRID RENEWABLE ENERGY AND ITS POWER APPLICATION
BY-AJINKYA KATARIA
MANET, PUNE

## Slide 2
NEED FOR RENEWABLE ENERGY OVER NON-RENWABLE ENERGY
Rising prices of the fossil fuels
Fast depleting sources
Polluting in nature
Concentrated over some geographical areas
What are the advantages of renewable energy over non-renewable energy ?
Non polluting in nature
Cheaper in cost
Spread over a wide geographical area
Available in plenty
What is renewable energy ?
They are energy sources which get replenished on human time scale such as solar, wind, hydro, biomass etc.

## Slide 3
SOLAR ENERGY
It is the radiant light coming from the sun.
ADVANTAGES
Widely available throughout the geographical area
Free of cost
Non polluting
Can be used easily for low consuming devices
DISADVANTAGES
Cost of collectors is high
Large tracts of land required
Available in day time
Generation affected by cloudy weather

## Slide 4
WIND ENERGY
It is the energy extracted from blowing wind
ADVANTAGES
Available throughout the day
Takes up small plot of land
Useful for remote areas
Enhances the landscape
DISADVANTAGES
Varying wind speeds
Wind turbines are noisy
In some places people have reported that wind farms cause visual pollution

## Slide 5
HYDRO POWER
It is the power derived from flowing or falling water also known as water power.
ADVANTAGES
Non polluting
Constant rate of production
Forms a tourist spot
Water stored by dam can be used for irrigation
DISADVANTAGES
Building dams is expensive
Ecosystems are destroyed
People loose their land and jobs and move out of that place
Breakage of dam due to water force causes heavy losses

## Slide 6
BIOENERGY
It is the energy made available from materials derived from biological resources/organic matter.
ADVANTAGES
Uses waste material as input
It has very little investment
Reduces the land fills
DISADVATAGES
Not attractive to the people
Manning required
Refinement required for industrial use
Gas leaks may lead to explosion

## Slide 7
The main problem with renewable source of energy is that they are seasonal and their generation varies throughout they year.
We require a continuous and constant flow of energy and a single source cannot provide it.
so why don’t we combine two or three renewable energy sources to gain a continuous output?
Hybrid renewable source of energy means combining two or three renewable energies to gain a continuous output.
Combining two or three renewable energies into one generating system the drawbacks can be avoided partially or completely. Draw backs of one can be covered by other
ADVANTAGES OVER INDIVIDUAL RENEWBLE ENERGY
popular in remote areas
Increases system efficiency
Constant output

## Slide 8
MANET CASE STUDY
ADVANTAGES OF THE CAMPUS
It has a wide suitable area for solar panel installation
A river flows along the campus having potential of hydro-electric power generation
The waste generated in campus is large enough for biogas plants
Average electricity consumption per month is 2, 50, 000 units (kW-hr)
Now this complete load will be shared by hybrid renewable system and MSEB.

## Slide 9
SOLAR POWER
The suitable time period during which generation by means of solar power can take place is 0600hours to 1800hours.
Two arrangements are possible
Mounting solar panels and making use of batteries
Mounting solar panel and directly supplying the generated power to the load
Now according to the information gathered, we will require 1, 084 kw solar system
Which will provide 1, 34, 710 units monthly and 16, 29, 725 units annually.
Requirements are-
Land availability- around 4 acres of land
Investment- 7 crores
The annual savings will be around 1.62 crores.
So after 4.3 years we will get electricity of about 1.62 crores free from solar power.
THE SOLAR POWER WILL SUPPLY ABOUT 53.8% OF OUR TOTAL POWER DEMAND.

## Slide 10
HYDRO-ELECTRIC ENERGY
Mula-mutha river flows through the campus and a weir has been constructed on the flow channel of about 4.5 m. water flows over the weir for most of the year. The weir has 7 openings in it each of 4*4 feet.
These type of projects are known as small head projects and generally a propeller turbine is used.
According to the general formula for shaft power,
Power = n*g*Q*H*
hence the calculated value is 113.011 kW
As there are some losses always present at alternator and transmission assuming 30% power is lost. Therefore we are left with 80 kW.
So if the alternator runs for 1 hour with 80kw of power it will be generating 80 units per hour. So in a day, 1,920 units and in a month = 57,600 units for one opening in the wall.
Thus hydro power supplies almost 23.04% of our power demand.

## Slide 11
BIOMASS ENERGY (Biogas)
The waste generated in our campus is 100-110 kg.
One biogas plant having capacity of about 10 cubic metre uses upto 40-50 kg of waste per day and generates about 7-10 kg of biogas(3-4 kg of LPG) or 15-20 units of electricity daily.
So, we will require about three such units with output of 60 units of electricity daily and around 1800 units per month.
Surely this is a very small quantity but this may be used for small purposes such as powering street lights or heating the water.

## Slide 12
So for making the campus independent it is not only the generation we need to reduce the consumption of electricity
This can be done in following ways-
Replacing the conventional tubes with LED tubes
Fitting the buildings with the light dimmer circuits
Motion sensors
Now,
Total consumption= 2, 50,000 units
Total generation= 1, 34,710+57,600 + 1,800 + 21,060 = 2, 15,710 units
So, we have to depend on MSEB for remaining 34,830 units.
The campus can be made completely emission free but needs research and more development

## Slide 13
ADVANTAGES OF HYBRID RENEWABLE ENERGY
The advantages of the hybrid renewable energy are same as that of individual renewable energy
There are many advantages of renewable energy and some of them are listed below
Lower surrounding temperatures
Smart investment
Carbon footprint reduction
Independent power
Green campus
Solution to the organic waste
Jobs and other economic benefits
Stable energy prices
The penalty is saved

## Slide 14
CHALLENGES FOR HYBRID RENEWABLE ENERGY
Reliability of Supply
Large Capital Cost
Large Tracts of Land Required
water in the hydro power must be clean
Labour work in biogas plant

## Slide 15
The above given design and calculation of the hybrid renewable energy was done on the approximate cases and for designing and for actual implementation a deep study and intensive research will be required. My basic aim of the paper was to explain to the people this interesting concept of hybrid renewable energy and its advantages.

## Slide 16
THANK YOU