SUPER TURBO GENERATORS- AN ADVANCEMENT OF PRESENT TECHNOLOGY

S LOGESH KUMAAR & R Yuvaraj, Indian Maritime University- Chennai Campus, India.

ABSTRACT

Ship operators are confronted by rising fuel costs and ever stricter environmental regulations. The shipping department has to adapt itself to the changing environment through the advancement in technologies. Though many researchers have come up with various new ideas, the concept of super turbo generators proves to be a better option. This paper discusses about the working, reliability and advantages of super turbo generators. Human tendency is to always expect more from everyone and everything. The efficiency of heat engines are less than 50% and there existed questions like, What happens to the remaining energy? How do we recover it? The super turbo generator is the answer for these questions. To put it simply, this system uses the heat from the main engine exhaust gases. This heat energy is used for generating steam that is channeled to the turbo generator where the power for the vessel is produced.

1. INTRODUCTION

Sustainable development in environmental protection means careful use of natural resources, which is why we access possible environmental impacts in early stages of product and process development. The efficiency should be maximized for any machinery to reduce the environmental impacts. The super turbo generator has the advantages like higher energy efficiency by transforming heat losses into propulsion energy or electricity. STG’s 3 main features are, firstly the economy, secondly the environmental protection and finally the social responsibility.

2. CONCEPT OF STG

A super waste-heat recovery system consisting of a conventional combined system with a gas economizer, a steam turbine and a power turbine (gas turbine) utilizing a portion of the exhaust gas coupled to the generator and also tuning the engine to ambient air intake.

2.1 OUTLINE OF STG

In this compound system, the power turbine is engaged and disengaged with the steam turbine through the automatic clutch to drive a generator. The power turbine is coupled to the steam turbine through the automatic clutch.

After the steam turbine begins to cover the load and the engine runs above certain load, power turbine starts operating and supplements to power production. When the rotation speed of the power turbine reaches that of the steam turbine, the automatic clutch engages the turbines so that the rotating torque of the power turbine is added to the steam turbine to drive the generator. This compound generating system consists of parallel or tandem operation of steam and power turbines.

2.2 STEAM TURBINE

A dual-pressure steam turbine that can run about 6750 rpm is used as steam turbine. The high pressure side works at about 8 - 9 bar inlet pressure and low pressure side works at about 3 – 3.5 bar inlet pressure. A speed reduction gear is present between the steam turbine and generator, which reduces the turbine speed to about 1800 rpm generator speed. During engine operation, the exhaust gas bypasses economizer and is released to the air duct below 35% load due to small amount of exhaust energy. This also reduces soot deposits in the economizer. Above 35% engine load, economizer and steam turbine comes into operation.

2.3 ECONOMIZER

The economizer has a high-pressure part with HP evaporator and superheating section and low-pressure part with LP evaporator and superheating section. The economizer outlet temperature should not be less than 160o to avoid sulphur corrosion. Saturated steam from HP steam drum can be used for ship service steam. Feed water is first heated to a temperature of 85o by the engine jacket cooling water. The feed water for the HP side is further heated by the scavenge air cooler to a temperature of about 1700.

Figure 1 shown below is the schematic diagram of Turbogenerators employed with an engine supplying ship’s service electricity while the ship is at sea. The power generated by turbo generator at full load will be enough for ship’s service depending on ship.

Figure 1: Schematic diagram of turbogenerators supplying ship’s service electricity.

2.4 POWER TURBINE

The Power turbine uses about 13% of exhaust gas from the diesel engine to generate power that adds up to the steam turbine while driving generator. The power turbine is engaged and disengaged from the steam turbine with the help of an automated clutch. The PT runs at around 20,000 rpm and is coupled with steam turbine through one stage reduction gear. The PT is basically a derivative from proven turbocharger models with minor changes to act as a turbine. The PT will not operate below 55% of engine load as the efficiency of turbocharger is less and the exhaust gas cannot be branched. The flow of exhaust gas from manifold is controlled by an orifice, which shuts off below 55% of load. The outlet temperature of PT is about the same as that of turbocharger.

2.5 SHAFT MOTOR/ ALTERNATOR SYSTEM

As the name indicates, this system is arranged to operateeither as a motor or an alternator. It usually operates on variable electrical supply and a control system controls the frequency to and from the electrical supply. It increases operational flexibility. The shaft motor can be used to reduce the overall fuel consumption by reducing main engine power or as a boost. It can also be used as a generator to supply electric power while ship is at sea, if the STG plant is not operational. Figure 2 shown below is the schematic diagram of STG with an engine supplying both assisted propulsion and ship’s service power. The shaft motor can also serve as a shaft generator for added flexibility in operation.

Figure 2: Schematic diagram of Shaft Motor/ Alternator system.

3. TUNING OF CONVENTIONAL ENGINE

The quantity of waste heat recovered from the exhaust gas is maximized by adapting the engine for ambient air intake and by re-matching the turbocharger for same thermal load. There should also be a waste gate as a safety measure.

3.1 AMBIENT AIR INTAKE

The main aim of the concept being maximum possible waste heat to be recovered from the engine, ambient air intake is adapted instead of from ship’s engine room. Simply, engine is adapted to lower air intake temperature. Normally engines are designed for air intake temperature of up to 45oC for tropical conditions with turbocharger drawing intake air from the ship’s engine room. By tuning the engine to ambient air intake, the maximum intake temperature can be assumed not more than 35oC.

Figure 3: Left- Engine room air suction. Right- Ambient air suction from outside the ship’s engine room.

3.2 RE-MATCHED TURBOCHARGER

The turbocharger is to be re-matched for lower air intake temperatures to return the thermal load of engine back down to thermal load for intake temperature at 45oC. Thus the thermal loading remains with no great difference and thus engine reliability factor is not affected. Even with a certain quantity of exhaust gas branched off for the power turbine and not available for the use of turbocharger, but still thermal loading remains the same because of special turbocharger matching and thus allows full utilization of the available efficiency of the turbocharger. This tuning and re-matching incurs a penalty in slightly increased fuel consumption but compensated by the energy recovered from the engine. The high efficiency of turbochargers also has a small surplus in efficiency capability in the upper load range. Thus a certain amount can be branched off before the turbocharger to the power turbine and thus the air flow through the engine is not affected.

3.3 WASTE GATE

The tuning of the engine makes it to operate within the air intake temperature range of -5oC to 35oC. But if the ship is to be operated at ambient temperature below -5oC, the engine is to be protected from maximum cylinder pressure because of the high density of cold air. This protection can be enabled by applying a waste gate or blow off valve for scavenge air. This scavenge waste gate avoids direct contact of scavenge air with high temperature exhaust gas. The valve opens and closes according to the temperature set up and helps in proper functioning of engine.

4. BENEFITS OF STR

The Super Turbo Generators has various benefits such as increased efficiency, environmental protection, economically viable, lower emission rates as follows.

4.1 EFFICIENCY IMPROVEMENT

The Sankey diagram shown below represents the efficiency of engines with and without STG. The waste

heat recovery is evident from the findings of Wartsila and Mitsubishi Heavy Industries.

4.1 (a) SANKEY DIAGRAM FOR ENGINE

WITHOUT STG

The Sankey diagram of a Wartsila RT-Flex 96C engine without STG is shown below in figure 4. This diagram illustrates the efficiency distribution, its overall efficiency and fuel consumption of the engine.

Figure 4: Sankey diagram for engine without STG.

4.1 (b) SANKEY DIAGRAM FOR ENGINE WITH STG

The increase in overall efficiency of the engine is evident from the diagram below in figure 5. The gain in efficiency of the engine with STG is 11.4% from the model experiments conducted by Wartsila. We can also see that fuel oil consumption has increased slightly from the diagram. The waste heat is also recovered from scavenge air cooling water and jacket water cooling water other than from exhaust gas.

Figure 5: Sankey diagram of engine with STG.

Power output graph shown below in Figure 6 illustrates the output of steam turbine and power turbine individually and also combined output.

Figure 6: Power output graph.

4.2 LOWER EXHAUST EMISSIONS

STG reduces the fuel oil consumption to a greater level that in turn reduces the harmful exhaust emissions. The emission has even reduced below the IMO requirement. The table below proves the fact that STG reduces emission levels significantly. The exhaust emissions are reduced to about 13% for an engine with STG from conventional engine.

Figure 7 shown below is the data compiled by Siemens marine solutions shows the CO2 emissions for engine with and without STG. CO2 saving from the graph is calculated to be about 13%.

Figure 7: CO2 emission rates.

4.3 ENVIRONMENTAL COMPATIBILITY

Usually environmental compatibility of marine engines is indicated by Eco-Care matrix in figure 8. It is clear from the graph that STG stands well in the limit of Eco-Care as published by Siemens marine solutions.

Figure 8: Eco-Care matrix.

The various other benefits includes emission free electricity, low annual costs, low maintenance costs, lower running costs for auxiliary engines, improved freight  competitiveness.

5. CASE STUDY

The improvement in technologies has always faced problems like installation costs and payback period, which decides the economic factor of the technology. It is always a major concern for the ship owners despite the advantages. This case study details conducted by Wartsila proves the STG to be a better solution economical wise. A container ship powered by a 12 cylinder Wartsila RT-Flex 96C engine, operating at an average of 85% load for 6500 hours a year on bunkers costing 250 USD per tonne with an average total electric load of 5350KW. The annual operating costs for the main and auxiliary engines, including fuel, maintenance and lubricating oil, would be 19.54 million USD without STG and 17.29 million USD with the STG.

Thus the annual savings would be 2.25 million USD. Considering the bunker price rise, savings would increase to about 3.48 million USD. The complete STG plant and its installation would call for an investment of about 9.5 million USD. Thus the payback period is less than five years.

6. CONCLUSION

Super Turbo Generators is another milestone in the improvement of maritime technology. The working concept of STG is very simple with no effects to engine reliability. The benefits of about 12% efficiency gain and 13% emission reduction are significant values compared with other technologies. STG’s wide acceptance is confirmed by the model set up by Alaska centre for energy and power and various ships from 2005. The EEE class vessels of Maersk lines are to be fitted with STG as an additional special feature. Recent stories from Maersk technology also says that they have gained knowledge and ways to reduce fuel consumption to 22%, but not yet proved or in practice. STG has also been working well at low loads as per the reports of project managers from Maersk. Simply, STG is the practical path forward.

7. REFERENCES

[1] ‘Wartsila Waste Heat Recovery’, Wartsila technical review, 2007.

[2] ICHIKI, Y., SHIRAISHI, K., KANABOSHI, T., ONO, Y., OHTA, Y.; ‘Development of Super Waste Heat

Recovery System for Marine Diesel Engines’, Mitsubishi Heavy Industries Technical Review Vol. 48 No. 1, 2011.

[3] Marine Solutions, ‘SISHIP Waste Heat Recovery/Boost’, SIEMENS Environmental Product Declaration, 2010.

[4] CHEUN-SEN LIN, ‘System Monitoring and Performance and Cost Analyses of a Marine Diesel Genset

with Heat Recovery Capability’, Alaska centre for energy and power, 2010.

[5] ‘Waste Heat Recovery’, Maersk Maritime Technology, 2012.

[6] ‘Triple-E Class Container Ships, Denmark’, shiptechnology, projects, 2012.