## Slide 1: Hybrid Renewable Energy Sources
PRESENTED BY-
Makarand K. Patil

## Slide 2: CONTENTS
Abstract
Keywords
Introduction
Methodology
Simulation of Hybrid Power System Using HOMER Software
Conclusion Future Scope
Reference

## Slide 3: ABSTRACT
One of the major worldwide concerns of the utility is to reduced the emission from traditional power plants by using renewable energy and to reduce the high cost of the supplying electricity to remote areas. Hybrid power system can provide a good solution for such problems because they integrate renewable energy along with the traditional power plants. A case study in order to investigate the ability to use the hybrid power system to provide the village with its needs of electricity. The simulation of this hybrid power system was done using HOMER software.

## Slide 4: KEYWORDS
Hybrid renewable energy
HOMER Software
Wind energy

## Slide 5: INTRODUCTION
Renewable energy or “green energy” is defined as the energy generated from natural resources such as sunlight, wind, rain, and geothermal heat, which are renewable.
Hybrid systems offer better performance, flexibility of planning and environmental benefits compared to the diesel generator based stand-alone system. Hybrid systems also give the opportunity for expanding the generating capacity in order to cope with the increasing demand in the future.
Hybrid power systems provide an excellent solution to this problem as one can use the natural sources available in the area e.g. the wind and/or solar energy.

## Slide 6: METHODOLOGY
HYBRID POWER SYSTEMS :-
Hybrid power systems usually integrate renewable energy sources with fossil fuel, (diesel/petrol) based generators to provide electrical power and traditional diesel system acting as back-up in case of lack of the primary source .
For instance, on a cloudy and windy day, when the solar panels are producing low levels of electricity, the wind generator can compensate by producing more electric power.
It has the ability to provide 24-hour grid quality electricity to the load.
Such a system offers better performance, flexibility of planning and environmental benefits compared to the diesel generator based stand-alone system.

## Slide 7: FIG. NO. 1
HYBRID POWER SYSTEM

## Slide 8: SIMULATION OF HYBRID POWER SYSTEM USING HOMER SOFTWARE
to design a mini-grid hybrid power system.
It simulates the operation of a system by making
energy balance calculations every hour for each of the 8,760 hours in a year.
The objective of this study was to select a village in a remote area in the Kingdom of Saudi Arabia to study the feasibility of using hybrid power system to supply the load of the village throughout the year.

## Slide 9: FIG. NO. 2
ANNUAL LOAD PROFILE FOR THIS VILLAGE

## Slide 10: SIMULATION CASES
CASE 1:- This case represent the current condition of the system where the village connected to the grid and the solar is added to the system.
CASE 2:- In this case the wind was also added to the system and the specification in HOMER software was still without any constrains.
CASE 3:- This case represents the same system as the previous case, but it was required that the system should use a Minimum Renewable Fraction.
The Minimum Renewable Fraction was varied from 0 % to 50 %.

## Slide 11
CASE 4:- This case represents the ideal condition for the system where the village is off the grid and the system depends only on the hybrid power plant.
CASE 5:- This case is similar to case four but constraints were imposed to use a pre specified percentage of renewable energy in the output power.

## Slide 12: FIG. NO. 3
Graph for Optimal System Type

## Slide 13
TOTAL ANNUAL COST Vs MIN. RF
LEVALIZED COST OF ENERGY Vs MIN. REN. FRACTION

## Slide 14
LEVELIZED COST OF ENERGY Vs MIN. REN. FRACTION
CO2 EMISSIONS Vs MIN. REN. FRACTION

## Slide 15: CONCLUSION
To reduce the emissions from traditional power plants, by using renewable energy, and to decrease the high cost of supplying electricity to remote areas, hybrid systems are of considerable importance.
To reduce fuel consumption and environmental hazards. Applications of hybrid systems range from small power supplies for remote households providing electricity for lighting or water pumping and water supply to village electrification for remote communities.

## Slide 16: THANK YOU